OES  GENERATORS

| MODEL | POWER | USEAGE | MARKET PRICES | DISCOUNTED PRICES |
| --- | --- | --- | --- | --- |
| P-1500E | 1.5 KW | 10 E.saver/03 Fans/01 Tv/01 fridge | 35000 | Rs.34000 |
| P-2200E | 2.2 KW | 10 E.saver/04 Fans/01 Tv/01 fridge/01 DVD | 42000 | Rs.41000 |
| P-2600E | 2.6 KW | 12 E.saver/07 Fans/01 Tv/01 fridge/01 deep freezer/01 DVD | 47000 | Rs.46500 |
| P-3000E | 3 KW | 20 E.saver/09 Fans/02 Tv/01 fridge/02DVD/01 Deep Freezer/01 computer | 60000 | Rs.59000 |
| P-4000E | 4 KW | 22 E.saver/10 Fans/02 Tv/01 fridge/02DVD/01 Deep Freezer/02 computer | 72000 | Rs.71500 |
| P-5000E | 5 KW | 22 E.saver/10 Fans/02 Tv/01 fridge/02DVD/01 Deep Freezer/01 Split 1ton | 89000 | Rs.88000 |
| P-6000E | 6 KW | 22 E.saver/10 Fans/02 Tv/01 fridge/02DVD/01 Deep Freezer/01 Split 1.5ton/01 computer | 98000 | Rs.96500 |

TERMS & CONDITIONS

- All the prices may variable up to market trandes.

- Delivery depends on present stocks  .

- All the Payments are on cash or pay order basis.

- Company gives you one year parts warranty/ services.

- All the models are self start.

- Commissioning case to case quotation.

- Commissioning charges 1000 and Gas Kit 1000 on Additional.

## Description

Features

Orient Energy Systems (OES) has long been one of Pakistan’s leading providers of power generation solutions. As of year 2011, OES is the official distributor of Cummins Power Generation diesel generator sets in Pakistan. Key Features:

- 8 HP, 4-stroke overhead valve engine

- Large 25 litre fuel tank

- Automatic "low-oil shutdown"

- Heavy-duty cast iron cylinder sleeve

- Circuit breaker protection

- Dual element air cleaner

- Full perimeter safety frame

- 1 year limited warranty

- Stable power via Automatic Voltage Regulation (AVR)

- 12v DC battery charging outlet

- Long range fuel tank with fuel level gauge

- Voltmeter

Specifications

Generator Ratings
Maximum Output (watts): 3000
Rated Output (watts): 2800
Frequency/Phase: 50Hz / Single Phase
Voltage: 230
230V AC Max.Amps: 13.0
230V AC Rated.Amps: 12.2
DC Output Voltage/Amps: 12v/8.3

Engine Detail
No.of Cylinders/Type: 1/OHV, 4-Stroke
Cooling System: Air
Displacement: 270cc
Max HP: 8 HP
Engine Speed (RPM): 3000
Starting sYSTEM: Electric Recoil Backup
Battery Stand: yes

General
Generator p[L*W*H in mm]: 660*540*550
Fuel Type: Gasoline/Petrol
Oil Capacity: 0.6 Liters
Fuel Tank Capacity: 25 Liters
Run Time(Tank Full @ Rated Load): 12 Hours
Sound Level @ 7 Meters in db (A): 76

Other Features
Oil Alerts: Low-Oil Shutdown
Voltage Regulation: AVR Type
Digita Meter (Voltage, Running Hours, Frequency): Yes
Wheel Kit: 4" x 4 wheels
Warranty: 1 Year